PTWL 01 - Permit to Work Issuer Competencies Matrix

| Type of PTW | Country Level Certification | Experience/Background | Familiar with existing infrastructure and systems | Training |
| --- | --- | --- | --- | --- |
| ALL Permits | N/A | 2 years experiences, technical background, see below | YES | PTW procedure (Macro) and Risk Assessment training (iHASCO / IOSH/OSHA 30) |
| Electrical | Electrical professional diploma, technician or engineer | 2 years’ electrical maintenance background | YES | Electrical Safety Training (Awareness) -iHasco and Lock Out Tag Out(iHASCO) |
| Working at height | N/A | 2 years’ experience in working at height activities, technical background | YES | Working at height(iHASCO). |
| Confined space | N/A | 2 years’ experience in confined space (Knowledge to use gas measurement equipment; Knowledge to apply rescue plan), technical background | YES | Confined Space Training : Working in Confined Spaces-iHASCO |
| Hot work | N/A | 2 years’ experience in Hot Work supervision, technical background | YES | Fire Awareness-international (iHASCO) and Hot Work(iHASCO). |
| Excavation | N/A | 2 years’ experience in Construction, technical background | YES | External excavation awareness training. |
| Lifting | N/A | 2 years’ experience in lifting and crane operations, technical background | YES | Lifting Equipment and Lifting Operation (LOLER)-iHASCO. |