PTW 01 – Hot Works Permit

HOT PERMIT TO WORK

Copy of this permit shall be maintained in the immediate area of the work

(Electronic version my apply)

| A. | T Company performing work |  |  | RAMS/JSA Reference No. |  |
| --- | --- | --- | --- | --- | --- |
|  | Works Location |  |  |  |  |
|  | Works Description |  |  |  |  |
| B. | Issued by (name, and phone): _________________________________________________________ Received by (work supervisor, name, phone): ___________________________________________ Have employees read and signed the risk assessment? YES / NO Type of work: □ Arc welding □ Gas welding □ Open flames(burner) □ Grinding □ Cutting □ Soldering and brazing □ Use of flammable gases (e.g.: propane, acetylene) □ Use of hot bitumen, torches or other materials that can generate heat or flames □ Using heat-generating equipment to thaw frozen pipes, especially in enclosed spaces □ Electrical work, particularly those that involve live circuits or where there is a risk of arc flashes. □ ATEX/Explosive zones. ☐ Hot work in confined spaces (requires atmospheric testing + CS PTW 04) ☐ Hot work on roofs with combustible membranes (additional controls required) |  |  |  |  |
| C. | Client / Organization Notification |  |  |  |  |
|  | Has the Client / Organization been notified of the work to be carried out? YES □ NO □ Notified by (name): ____________________________ Date / Time: ____________________________ |  |  |  |  |
| D. | First Aider Assigned to this Work |  |  |  |  |
|  | Is a First Aider assigned to this work? YES □ NO □ If YES – Name: ____________________________ Contact number: ________________________ |  |  |  |  |
| E. | Prevention measures to be checked by the Permit Issuer: |  |  |  |  |
|  | □ Is there a fire extinguisher on site. □ 6 kg light water 1 pc □ 6 kg dry chemical 1 pc □ roof works one additional 6 kg light water 1 pc □ The sprinkler system is in function. □ Hydrant system is in function and hose are in good condition. □ Has the location of the nearest fire hose been identified. □ Have you checked where the nearest fire hose is located. □ Work area has been inspected, cleaned, and wetted as needed. □ Combustible materials have been removed or protected before work begins. (within 10 m radius) □ Flammable liquids have been removed □ Are appropriate PPE used. □ Ensure no explosion risk on the area. □ A constant fire watch is organized during the work and 2 hours after the end of work. □ Is there a fire watch during work (also during lunch and coffee breaks). □ Has it been investigated whether fire or sparks can spread between spaces, for example through cracks and crevices in the floor or ceiling of the work area. □ Cover all openings in the floor and walls. □ Use fireproof beds around the work. □ Protect duct works or stop ventilation. □ In case of works with closed equipment ensure that no flammable material inside and space is ventilated. □ Is a fire truck available when working around fuel system. □ Has the oxygen content in a closed space been measured before work begins □ Has the work area been demarcated and/or screened (e.g., cones, tape, temporary walls). □ Has wildfire hazard been evaluated. □ Is there a need to disconnect fire alarms or sprinklers. □ Have foreign objects been removed from the outside work area (to avoid FOD). □ It is guaranteed that you can call 112 during work. ☐ Fire watch trained and competent is assigned ☐ Additional fire extinguishers available based on work type ☐ Sprinkler / detection systems status verified ☐ Floor and wall openings sealed ☐ Adjacent rooms/voids checked for spark migration ☐ Ventilation adequate (forced ventilation if indoor) ☐ Roof membrane protected from heat transfer |  |  |  |  |
| F. | Dynamic Risk Assessment |  |  |  |  |
|  | Hazards/Risks ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ |  | Control measures ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ ______________________________________________ |  |  |
|  | If additional high-risk hazards are identified (Confined Space, Electrical, ATEX, Working at Height, Lifting, Excavation), the corresponding High-Risk PTW must also be completed . |  |  |  |  |
| G. | FIRE PROTECTION ISOLATIONS REQUIRED? YES □ NO □ Fire detection systems? YES □ NO □ Fire panels? YES □ NO □ Fire alarms? YES □ NO □ Suppression systems? YES □ NO □ Fire hydrants? YES □ NO □ Smoke alarms? YES □ NO □ Sprinklers? YES □ NO □ Thermal detectors? YES □ NO □ In case answer is YES, please describe the type of the fire protection/fire prevention system: _______________________________________________________________________________________________ _______________________________________________________________________________________________ Isolated by:________________________ Time:_________ Signature: ___________________________________ Recommissioned By: ___________________ Time: ________ Signature: _______________________________ |  |  |  |  |
| H. | AUTHORIZATION and VALIDITY Hot Work must not begin until all preventive measures are verified . Hot Work area must be rechecked before closure. Issued date: _____________ Time: ____________ Expiration date: _____________ Time: ____________ Permit Issuer: ______________________________Department________________________________ Permit Receiver: ____________________________Company________________________________ Permit receiver phone number:_______________________ Permit receiver e-mail address: _______________________ |  |  |  |  |
|  | Authorised Persons: I / We have read and understood the hazards and risks related of these activities and I/We will adopt all the preventive measures that must be taken described in this permit and in the RAMS/JSA/RA. I/We will return the duplicate of this permit to the Permit Issuer when the work is completed, or the validity period expires. |  |  |  |  |
| I. | Job completion/Permit Expiration/Permit closure □ I have been unable to finish the work. The work area has been left in a safe condition with appropriate controls in place to mitigate potential hazards. NB: For all incomplete works an extension request must be submitted prior to the expiry of the current permit. If an extension cannot be granted, a new submission will be required. |  |  |  |  |
|  | □ I have completed the work detailed in this permit and all control measures instituted during this work activity have been removed. □ All tools and materials have been removed from the area. The work area has been left in a safe condition. Permit Receiver name: __________________ Signature ____________ Date ____ Time ______ Permit Issuer name: __________________ Signature ___________ Date ____ Time ______ Fire watch post-work checks appointed. ☐ Yes |  |  |  |  |