PTWL 02 - Permit to Work Inspection Checklist

Macro QHSEW team and Facility Managers shall complete this inspection checklist for PTW issued by Macro and/or Suppliers competent staff to Macro or Suppliers works.

| Site: |  |  |  | Permit No: |  |
| --- | --- | --- | --- | --- | --- |
| Work Activity: |  |  |  | Permit Type: |  |
| Permit issued by Macro or Supplier: _______________________ Inspection done by Macro(name): |  |  |  |  |  |
| No. | Description |  | Y/N/NA | Remarks (include evidence seen if done remotely) |  |
| 1 | Is the correct PTW is issued for the scope of work? |  |  |  |  |
| 2 | Are PTW signed by person authorizing and accepting the work? |  |  |  |  |
| 3 | Is the PTW issuer competent and NOT part of the work team? |  |  |  |  |
| 4 | Is the work within the date and time limit on the PTW? |  |  |  |  |
| 5 | Is the work being carried out as written in the PTW and the associated RAMS/JHA? Are all preventive measures implemented? |  |  |  |  |
| 6 | 4a Are all preventive/control measures implemented before work starts? 4b Are all control measures maintained and effective throughout the task? |  |  |  |  |
| 7 | Are Method Statement & Risk Assessment attached to PTW? Is the PTW posted visibly at work locations? |  |  |  |  |
| 8 | Are workers received Site Induction? |  |  |  |  |
| 9 | Has the induction been completed within the validity period (site or project-specific)? |  |  |  |  |
| 10 | Has worker competence been verified through certificates/logbooks? |  |  |  |  |
| 11 | Are workers briefed on Risks and Method Statement and other specific measures agreed in the PTW? |  |  |  |  |
| 12 | Are the PPEs appropriate for the task and are used? |  |  |  |  |
| 13 | Is special PPE required (arc flash, chemical, rope access) and is it valid/in-date? |  |  |  |  |
| 14 | Are warning tags/caution notices and barricades(cordoned) provided? |  |  |  |  |
| 15 | Are barriers appropriate for risk level (e.g., rigid barriers for high-risk areas)? |  |  |  |  |
| 16 | Are Tools and Equipment suitable and in good condition? |  |  |  |  |
| 17 | Are third-party inspection certificates available where required (MEWP, lifting, scaffolding)? |  |  |  |  |
| 18 | Are SDS for hazardous chemicals available? |  |  |  |  |
| 19 | “SDS < 5 years old and site-specific to chemical brand?” |  |  |  |  |
| High risk PTW specific questions To be completed if is applicable, not all sections are mandatory. |  |  |  |  |  |

| Precautions For Hot work |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Y | N | N/A |  |  |  |  | Y |  | N | N/A |
| Are combustible waste materials removed from work area? |  |  |  | Is Fire Watch available? |  |  |  |  |  |  |  |
| Is local exhaust ventilation installed to remove toxic content and disperse smoke? |  |  |  | Is the welder competent? |  |  |  |  |  |  |  |
| Hot Work Permit displayed at site.” |  |  |  | Flammable gases detected? Gas monitoring performed?” |  |  |  |  |  |  |  |
| Are all walls and floor openings covered or protected? |  |  |  | Are smoke detectors covered or decommissioned to prevent false alarms? |  |  |  |  |  |  |  |
| “Fire watch duration after work completed (min. 30–60 min depending on local law).” |  |  |  |  |  |  |  |  |  |  |  |
| Are welding screens used? |  |  |  | Fire extinguisher | DCP | CO2 | Water |  | Foam |  |  |

| Precautionary Measures for Confined Space |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Y | N | N/A |  | Y | N | N/A |
| Is Emergency Rescue Plan in place? Is the Stand-by Person present? Is communication system in place? |  |  |  | Are electricity and other energy sources isolated? Is LOTO applied? |  |  |  |
| Are safe entry and egress provided? |  |  |  | Are equipment drained/emptied and isolated? |  |  |  |
| Entry permit issued?” |  |  |  | Last atmospheric test timestamp + values recorded.” |  |  |  |
| All entrants listed and signed onto permit.” |  |  |  |  |  |  |  |
| Is the rescue lifting tripod available on site? |  |  |  | Is forced ventilation available and operable? |  |  |  |
| Is calibration of Air Sampling Device valid? Are air samplings being done at regular frequency? |  |  |  | Is Adequate lighting not exceeding 110V implemented? |  |  |  |

| Precautionary Measures for Rope Access Work |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Y | N | N/A |  | Y | N | N/A |
| Is Emergency Rescue Plan in place? |  |  |  | Is communication system in place? |  |  |  |
| Are Rope Access Team members competent/certified to do the work (IRATA Level-1 Technician & Level-3 Supervisor)? |  |  |  | Is wind Monitoring being carried out? |  |  |  |
| Is calibration of Anemometer valid? |  |  |  | Is third party inspection valid for PPE Kit? Is third party inspection valid for anchor point? |  |  |  |

| Precautionary Measures for Working at Height |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Y | N | N/A |  | Y | N | N/A |
| Is wind Monitoring being carried out? |  |  |  | Is Scaffolding Inspected and Tag provided? |  |  |  |
| Are there any hazards present in the vicinity? |  |  |  | Is the Safety harness attached to anchor point? |  |  |  |
| Is the Safety harness inspected/ |  |  |  | Is the Anchor point third party inspected? |  |  |  |
| Is the MEWP/BMU third party inspected? |  |  |  | Are tools and equipment properly tethered? |  |  |  |
| Fall protection rescue kit available & workers trained to use it.” |  |  |  |  |  |  |  |
| Precautionary Measures for Electrical works |  |  |  |  |  |  |  |
|  | Y | N | N/A |  | Y | N | N/A |
| Is electrical energy isolated and LOTO applied? |  |  |  | Are the adjacent active parts of the electrical installations are covered with insulating materials? |  |  |  |
| “Isolation point correctly labelled and secured?” |  |  |  | Shock/arc flash boundaries set and marked?” |  |  |  |
| Is the presence of electrical power tested after LOTO applied? |  |  |  | Is Third party inspection valid for PPE Kit? |  |  |  |
| Voltage testing equipment calibrated?” |  |  |  |  |  |  |  |
| Is specific electrical PPE used according to arc flash requirements? |  |  |  | Is Arc flash study done for PPE required? |  |  |  |

| Precautionary Measures for Lifting activities |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Y | N | N/A |  | Y | N | N/A |
| Is the lifting plan prepared and followed? |  |  |  | Is communication system in place? |  |  |  |
| “Lift plan signed by Appointed Person.” |  |  |  | Tag lines used where appropriate.” |  |  |  |
| Is Emergency Rescue Plan available? |  |  |  | Are all rigging inspected and marked? |  |  |  |
| Are the lifting equipment inspected a maintained according to local legal requirements? |  |  |  | Is wind monitoring being carried out? |  |  |  |
| Is area free of any overhead obstructions? |  |  |  | Are all hooks provided with functional safety latch? |  |  |  |
| Precautionary Measures for Excavations |  |  |  |  |  |  |  |
|  | Y | N | N/A |  | Y | N | N/A |
| Is Emergency Rescue Plan in place? Is Communication System in place? |  |  |  | Is electrical cable detection devices available? |  |  |  |
| Are underground schemes available and checked? |  |  |  | Is pipeline detection available? |  |  |  |
| Are underground networks signalised and visible? |  |  |  | Is trained banksman allocated? |  |  |  |
| Shoring/benching in place where required?” |  |  |  | Edge protection around excavation?” |  |  |  |
| Excavation inspections performed daily?” |  |  |  |  |  |  |  |

| Inspected By |  | Signature |  |
| --- | --- | --- | --- |
| Account |  | Contractor(s) |  |
| In-Person or Remote? |  | Adequate Evidence seen? |  |
| Role |  | Date & Time |  |