PTW 04 – Electrical Permit to Work

ELECTRICAL PERMIT WORK

Copy of this permit shall be maintained in the immediate area of the work

(Electronic version may apply)

| Section A – DETAILS OF THE ACTIVITY |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company: performing work |  |  |  |  |  | RAMS/JSA Reference No. |  |  |  |
| Works Location |  |  |  |  |  |  |  |  |  |
| Works Description: |  |  |  |  |  |  |  |  |  |
| This permit to work is for electrical systems/equipment’s for 50-1000 Volts. |  |  |  |  |  |  |  |  |  |
| Client / Organization Notification |  |  |  |  |  |  |  |  |  |
| Has the Client / Organization been notified of the work to be carried out? YES □ NO □ Notified by (name): _____________________ Date / Time: ____________________________ |  |  |  |  |  |  |  |  |  |
| Section B – HAZARD IDENTIFICATION AND PREVENTION MEASURES |  |  |  |  |  |  |  |  |  |
| Requirements detailed below should be implemented and respected throughout the work. |  |  |  |  |  |  |  |  |  |
|  |  |  | Yes |  | No | If “No” list all additional controls |  |  |  |
| Have employees read and signed the risk assessment? |  |  | ☐ |  | ☐ |  |  |  |  |
| Working activities are performed by authorized personnel? |  |  | ☐ |  | ☐ |  |  |  |  |
| Workspace delimitation? |  |  | ☐ |  | ☐ |  |  |  |  |
| Caution Sign displayed? Or Warning signs and barriers installed? |  |  | ☐ |  | ☐ |  |  |  |  |
| Appropriate power tools? Or Power tools appropriate and safe? |  |  | ☐ |  | ☐ |  |  |  |  |
| Tools are insulated (VDE-certified) and in good condition? |  |  |  |  |  |  |  |  |  |
| Functional Voltage Indicator will be used? Or Voltage Indicator verified functional (test-before-test-after)? |  |  | ☐ |  | ☐ |  |  |  |  |
| Absence of voltage verified (3‑point test)? |  |  |  |  |  |  |  |  |  |
| Power detection equipment (to detect power in walls or underground) will be used? |  |  | ☐ |  | ☐ |  |  |  |  |
| The adjacent active parts of the electrical installations will be covered with insulating materials? |  |  | ☐ |  | ☐ |  |  |  |  |
| No liquids will be used in the vicinity of the electrical equipment? |  |  | ☐ |  | ☐ |  |  |  |  |
| The electrical equipment will only be used for the purpose for which it was designed? |  |  | ☐ |  | ☐ |  |  |  |  |
| The proper Personal Protective Equipment will be used? |  |  | ☐ |  | ☐ |  |  |  |  |
| Will be used tools/instruments with insulated properties? |  |  | ☐ |  | ☐ |  |  |  |  |
| The presence of a supervisor is mandatory? |  |  | ☐ |  | ☐ |  |  |  |  |
| Electrical scheme was consulted? |  |  | ☐ |  | ☐ |  |  |  |  |
| The absence of voltage has been verified before starting to work ? (i.e Zero volts measured) |  |  | ☐ |  | ☐ |  |  |  |  |
| Alternative Power Sources (including generators or uninterruptible power supplier to be isolated? If Answer is YES: Switching Schedule is mandatory to be developed. |  |  | ☐ |  | ☐ |  |  |  |  |
| Pre-job safety meeting conducted, and Risk Assessment/Safe System of Works presented to all workers? |  |  | ☐ |  | ☐ |  |  |  |  |
| Risk Assessment and Safe System of Works is attached to this permit to work? |  |  | ☐ |  | ☐ |  |  |  |  |
| Emergency shutdown/rescue plan reviewed? |  |  | ☐ |  | ☐ |  |  |  |  |
| Second person present (mandatory for high‑risk work)? |  |  | ☐ |  | ☐ |  |  |  |  |
| Is a First Aider assigned to this work? YES □ NO □ If YES – Name: ____________________________ Contact number: ________________________ |  |  |  |  |  |  |  |  |  |
| SIMOPS checked – no conflicting activities? |  |  | ☐ |  | ☐ |  |  |  |  |
| Area dry, clean, no conductive dust? |  |  | ☐ |  | ☐ |  |  |  |  |
| Arc flash study/calculations supporting the category of flame-retardant garments and PPE selected? |  |  | ☐ |  | ☐ |  |  |  |  |
| In case work will be caried out in ATEX Zone, the electrician has the right ATEX Zone certification/authorisation/qualification? |  |  | ☐ |  | ☐ | ATEX certification is mandatory for electrician. |  |  |  |
| Energy power supply interruption is mandatory-Lock Out Tag Out! |  |  |  |  |  |  |  |  |  |
| Point of Isolation where safety lock and caution sign are applied: | Describe location, room, electrical cabinet ref no, breaker ref no. device ID: |  |  |  |  |  |  |  |  |
| Authorized Person / Competent Person applying the isolation (LOTO): | Name |  |  |  |  | Signature | Date |  | Time |
| Authorized Person / Competent Person to confirm the absence of energy/power: | Name |  |  |  |  | Signature | Date |  | Time |
| Personal Protective Equipment (Based on RA & Arc Flash Study) |  |  |  |  |  |  |  |  |  |
| ☐ Rubber insulating gloves (Class___) ☐ Insulating carpet ☐ Visored helmet ☐ Arc flash clothing (Class___) ☐ Safety glasses ☐ Leather protectors ☐ Hearing protection (arc flash) ☐ Other_____________________________________ |  |  |  |  |  |  |  |  |  |
| Dynamic Risk Assessment |  |  |  |  |  |  |  |  |  |
| Additional risk/ Hazards related to the work |  |  |  | Prevention measures |  |  |  |  |  |

Section C – AUTHORIZATION AND VALIDITY

Issued date: __________________Time: _________________ Expiration date: ________________ Time: ____________ Permit Issuer/Authorized Person: __________________________________ Company___________________ Signature__________________ Permit Receiver: _________________________________ Company___________________ Signature_________________

Section D – AUTHORIZED PERSON I/We have read and understood the dangers of this activity and undertake to adopt the preventive measures that must be taken. I will stop the activity the moment I identify an imminent risk of injury. I/We confirm that: I have understood the risks and preventive measures. I will follow the safe system of work and stop immediately if unsafe conditions arise. I am trained and authorized for this task. Names & Signatures of All Persons Performing the Work: __________________________________ Signature __________________ __________________________________ Signature __________________ __________________________________ Signature __________________ (Attach additional sheet if necessary)

Section E – JOB COMPLETION/PERMIT EXPIRATION/PERMIT CLOSURE

NB: For all incomplete works an extension request must be submitted prior to the expiry of the current permit. If an extension cannot be granted, a new permit submission will be required. ☐ I confirm that all works associated with this permit to work have been completed / not completed (strikethrough as applicable). The power was switched ON and the installation was recommissioned. The work area/installation meets the safety conditions. From this moment the permit to work is cancelled.

Permit issuer/Authorized person: ___________________________Company___________________________Signature________________ Permit Receiver: _________________________Company___________________________Signature________________ Date: _____________ Hour: _____________